## Slide 1
Revolutionizing Efficiency:
The Power of PoE DC Solutions Unveiled
Shenzhen Meilin Mountain-Yinhu Mountain Ecological Recreation Bridge © MLA+, fabersociety
Notes: Platform 21 © Associated Architects

## Slide 2: Introduction
I joined Cundall in 2015 from Hoare Lea as a Graduate Electrical Engineer. I hold a BEng Degree in Electrical and Electronic Engineering from the University of Derby. Since joining Cundall I have studied and passed my MSc in Building Services Engineering from the London Southbank University and have been granted CEng with the IET. During my engineering career, I developed an interest in sustainable electrical engineering, digital engineering and Smart buildings. My current role allows me to create a sustainable future within building services and to develop my skills within the future of the digital engineering market.

## Slide 4: Zero Carbon Design 2030
Achieving zero carbon design on 100% of our projects everywhere in the world by 2030 is a challenging target that Cundall have set ourselves. Whilst we expect to achieve this goal earlier in some locations like UK and Australia.
We recognise that we have a long way to go and alot of our clients are at different stages on the journey to zero carbon, we need to find innovative solutions to help drive our industry forward!

## Slide 5
[1] - How History Works, 2023

## Slide 7: Renewable Generation Battery Storage
We generate and Store Power through renewables in DC.

## Slide 8: Consumers
LED professional - LED Lighting Technology, Application Magazine, n.d.) [4]
Computers
LED lighting
TV Screens
Phones
Watches
All have batteries and utilise DC power

## Slide 9: Deep Dive into Lighting Control Lighting
New Part L 2021 requirements for light metering:-
6.61 - General lighting and display lighting should be metered by one of the following methods.
Dedicated lighting circuits with a kWh meter for each circuit.
Local power meter coupled to or integrated in the lighting controllers of a lighting management system.
A lighting management system that can both: i. calculate the consumed energy ii. make this information available to a building management system.

## Slide 10: To contradict this
Connecting Renewables into the National Grid is becoming increasingly difficult in some areas due to the need for Grid updates.

## Slide 11: Smart buildings

## Slide 12: What is a Smart Building
A smart buildings are a buildings/facilities which are equipped with various interconnected technologies and systems designed to enhance its efficiency, functionality, and sustainability.
As a group “Smart Buildings” are yet to be defined officially however, we should be striving towards efficiency of all system with a sustainable mindset!

## Slide 13: Diageo
In 2023, Diageo moved into their new London office, designed by Cundall. The space is not only award-winning, but also sustainable, flexible, inclusive, and healthy. Cundall enhanced the ventilation systems and deployed environmental space monitoring sensors and SMART technologies to help achieve the environmental quality such a progressive space requires. A dedicated wellness floor at the top of the building and a staff bar and shop at the ground level are just some of the facilities included in the design. The project won the Fit Out of Workplace of the Year in October at the National British Council of Offices Awards (BCO).
Location: London, UK
Sector: Global Corporate Real Estate
Architect: MCM
Awards: Fit Out of the Year 2023
BCO London / South East awards
© Philip Vile
Notes: One Heddon Street is included as a project sheet example using the project sheet slide master layout.

## Slide 14: Additional Regulations
Part L utilises PV in the notional building so its becoming increasingly difficult to remove PV from any building scheme.

## Slide 15: Deep Dive into Lighting Control Lighting
Lighting control by Dali utilises Lighting control modules and key head end equipment.
Due to Part L, if a control system is not utilised, manual controls with Circuit metering is needed but not forgetting the 230V infrastructure

## Slide 16: Is AC/DC Conversion Efficient?
Full load Efficiencies hover at around 94%
Significant inefficiencies at low or no loads, resulting in millions of AC/DC power supplies in standby mode needlessly wasting power
100s of luminaires means 100W of power lost.
GE are working on "The creation of next generation true three-phase high power rectifiers providing greater than 96% efficiency. Current generation products are 91% and legacy products are 88%efficient" (Information and Communication Technology Portfolio Review, n.d.) [2]

## Slide 17: Is AC/DC Conversion Efficient?
100s of convertors around building with embodied carbon and low efficiencies creates
  - Higer carbon
  - Lower efficiency
Surprisingly, the production of every 1kg of electronics results in the emission of almost 25 kg of carbon into the atmosphere!" (Maxey Moverley, n.d.) [3]
Non-linear loads like rectifiers introduce current harmonics into the power supply, impacting the broader building network. These harmonics can lead to increased maintenance costs, downtime, and, in extreme cases, equipment failure that often goes unnoticed until it occurs.

## Slide 18: Current Building Design
Heavy LV “AC” distribution panels / distribution boards and other LV installation equipment.
Mandated regulations on install and operation
Unsafe and risks to the installer and operator
Larger cables (more copper)
Lower efficiency
Lots of convertors required
Heat dissipation spread throughout the building

## Slide 19: SAFETY
CARBON
COST

## Slide 20: Summary
Smart Buildings are rising
Connectivity of building appliances
Lower carbon technologies
Operational efficiency (lower energy bills)
Capital and operational cost reductions

## Slide 21
[1] - How History Works, 2023

## Slide 22: POE / DC
PoE, regulated by IEEE 802.3BT standards, enables up to 100W of power through a single Ethernet cable.
DC Allows centralised drivers with 2kW of power per driver which can be split over 4 channels.
Heat Recovery
Carbon Reduction
Energy Reductions
Ease of Installation
Smart Controls
Dali Compatible

## Slide 23: DC Lighting
(hackaday.io, n.d.) [5]

## Slide 24: DC Lighting
Centralised driver locations
Open source lighting produce (just remove the driver)

## Slide 25: Mechanical Heat Recovery
Reuse the heat in other parts of the building
Save energy
Lower carbon

## Slide 26: What else?

## Slide 27: Cost Comparison
By removing the 230Vac infrastructure you are removing a vast proportion of the of the electrical infrastructure costs, some of the items you can remove are as follows:
AC Lighting distribution boards
AC Cabling to luminaires 
Expensive Cable trays for AC wiring (cable baskets for data cabling / SELV cabling will needed however this will be a reduced containment will size.
AC cabling to all switching and controls 
Any lighting control costs would be removed as all control is done through the IP network. 
Cabling to Emergency Luminaires as this could be done through the DC network 
Costs associated with Testing and commissioning of the 230V lighting DBs and cable 
All costs associated with LED Drivers. I.E speaking with a top luminaire manufacturer you would simply buy the housing and LED chip only no drivers need to be brought
DC luminaire cost 
Cost of a DC cable to run between fittings
 Cost of a cable basket to suit the DC cable
 Cost of installing a power supply to the data rack 
Data rack and DC switches 
No cooling is needed however, you may be able to use passive heat recycling  Software and Commissioning costs
AC
DC

## Slide 28: Op-EX
Efficiency Gains from LED Lighting: Substantial energy savings achieved through the efficiency of LED lighting, resulting in lower overall usage.
Reduced Energy Losses through Cable Transmission: Minimized energy losses during transmission through more efficient cable systems, contributing to significant savings.
Maintenance Technician Visit Costs: Elimination of electrician requirements for routine maintenance visits, reducing associated expenses.
No Need for Access Equipment: Savings incurred due to the absence of specialized access equipment requirements during maintenance procedures.
Detailed Energy Metering: Detailed monitoring at various levels to enhance energy savings by providing comprehensive insights into usage patterns.
Enhanced Control Strategies: Implementation of more effective control strategies resulting in additional reductions in energy consumption.
Potential Re-commissioning Costs: Accounting for any potential costs related to re-commissioning processes, if applicable.

## Slide 30: Find the full report here:

## Slide 31: Final Plug

## Slide 32: Questions?

## Slide 33: Get in touch

## Slide 34: References
[1] How History Works. (2023) Why tesla vs Edison taught us everything we need to know about business, YouTube. Available at: https://m.youtube.com/watch?v=m_aLxHZiph0 (Accessed: 15 April 2024).
[2] Information and Communication Technology Portfolio Review, n.d.) [2]
Maxey Moverley, n.d.) [3]
LED professional - LED Lighting Technology, Application Magazine. (n.d.). Direct Current (DC) Supply Grids for LED Lighting. [online] Available at: https://www.led-professional.com/resources-1/articles/direct-current-dc-supply-grids-for-led-lighting [Accessed 17 Apr. 2024]. [4]
hackaday.io. (n.d.). | Details | Hackaday.io. [online] Available at: https://hackaday.io/project/7227-dc-home-lighting/details [Accessed 17 Apr. 2024]. [5]